## 60m Theis & NRG
Item | 60 Meters Mast with Wind Measurement Equipment | Qty
1 | N4289 NRG SymphoniePLUS Logger with (1) MMC and accessories | 1
2 | N4033 Symphonie iPack for Iridium Satellite Phone | 1
3 | N3159 Symphonie Shelter Box with Hose Clamps | 1
4 | T3351 Thies First Class Advanced Anemometer Heated | 1
5 | TE433 Calibration Certificate Acc. Measnet, IEC 61400-121CD | 1
6 | HTC55 Thies First Class Anemometer Cable, 65m, for 60m level | 1
7 | HTC45 Thies First Class Anemometer Cable, 45m, for 40m level | 0
8 | HTC35 Thies First Class Anemometer Cable, 35m, for 30m level | 0
9 | N3151 Symphonie SCM Card for Thies First Class Anemometer | 1
10 | N2046 NRG #BP20 Barometric Pressure Sensor | 1
11 | N3155 Symphonie SCM Card for BP20 | 1
12 | N1906 NRG #110S Temperature Sensor with Radiation Shield | 1
13 | N3153 Symphonie SCM Card for #110S | 1
14 | N4415 Relative Humidity Sensor RH5X | 1
15 | N3156 Symphonie SCM Card for RH5 or RH5X | 1
16 | N4350 NRG #40C - Measnet Calibrated Anemometer | 3
17 | N1904 NRG #200P Wind Direction Vane, 10K, With Boot | 2
18 | N1934 NRG Sensor Cable, 2C, 20Ga, 56.5m(185'), for 60m level | 1
19 | N1933 NRG Sensor Cable, 2C, 20Ga, 46m (150'), for 40m level | 1
20 | N1932 NRG Sensor Cable, 2C, 20Ga, 35m (115'), for 30m level | 1
21 | N1939 NRG Sensor Cable, 3C, 20Ga, 56.5m(185'), for 60m level | 1
22 | N1938 NRG Sensor Cable, 3C, 20Ga, 46m (150'), for 40m level | 1
23 | 60m lattice mast | 1
24 | Mast support equpiment | 4
25 | Solar panel to power battery | 1
26 | Aviation warning light | 2